Checklist maintenance: Yearly on-site inspection Motorized Sliding elements

Version: 24/10/2019

In order to enjoy warranty for Hi-Finity, this checklist needs to be filled out after every yearly on-site inspection of the motorized sliding element.  The list of required inspections is to be found below.

This document needs to be saved in the technical construction file during the warranty period by the fabricator/installer.  We recommend for the end user to keep a copy of this document as well, in order to be checked in case of failure of the motor drive.

Make sure the document is dated correctly and signed.

In case of failing documentation of the maintenance data, or any element “Not OK” after actions taken, the warranty by Reynaers is no longer valid.

Project name:	………………………………………………………………………………………….

Address: 	………………………………………………………………………………………….

Element ID (CE-reference):	……………………………………………………………………

Maintenance inspections, to be documented on a yearly basis:

| Inspection | OK | Not OK | Action required | Date solved |
| --- | --- | --- | --- | --- |
| Is the element installed according to the specifications? (See “checklist installation”) |  |  |  |  |
| Does the vent slide smoothly? |  |  |  |  |
| The collision detection or any proximity sensor (ESPE) has been tested and works flawlessly. |  |  |  |  |
| Is the sound normal during use? (below 70dB ) |  |  |  |  |
| No signs of abnormal wear on motor, moving components and the gear belt? |  |  |  |  |
| The motor must be tightened well (torque > 5.6Nm). |  |  |  |  |
| The adjustment bolt must be tightened well (torque > 5.6 Nm). |  |  |  |  |
| Is the rail free of dust and debris? |  |  |  |  |
| Does the rail show any signs of abnormal wear? |  |  |  |  |
| Is there any corrosion visible? |  |  |  |  |
| The power supply is connected according to the specifications and works properly? |  |  |  |  |
| A residual-current device (RCD) & mains circuit breaker (MCD) are installed and working properly conform the documentation to protect the motor and electrical installation. |  |  |  |  |
| ELEMENT APPROVED |  |  |  |  |

The above inspection took place  .. / .. / ….

by  …………………… 	Signature:	………………………………………………